## Slide 1: HOW TO DO THINGS ON A SCOPE
Caryn
11/14/2023

## Slide 2: Current Scan Analysis
Nominally this: I ~ 100 * 10^((#dBm-1)/20)
But in our case this: I ~ 100*9.8 * 10^((#dBm-1)/20)
For these runs 12907,12906: -20dBm, AM depth 91%, mod f 0.1Hz

## Slide 3: Voltage and dbm conversion: cav4c

## Slide 4
Minimizer is Linear / Migrad
Chi2 = 0.000714002
NDf = 21602
p0 = -0.0445769 +/- 1.97251e-05
p1 = 0.348842 +/- 1.40917e-05
japanOutput/sbs_CntHouse_12907.root
4cQ and 4bQ differ by 3X in output

## Slide 5: Double difference Voltage and dbm conversion
Method A: Scan 0.1dBm at a time. Measure 4cQ and 4bQ output to an accuracy of 0.1mV. Calculate scaled difference (outputs differ by 3X)

## Slide 6
OUTPUT cav4Q Deviation from linear (cav4c) [mV]
INPUT [dBm]
Method B: Scan 0.1dBm at a time. Measure 4cQ output to an accuracy of 0.05mV. Calculate deviation from linear.

## Slide 7
Method C: Sawtooth mod -22->-20dBm. Trigger on sawtooth edge on scope. Measure ratio cav4cQ/sawtooth to accuracy of 0.01% to see pattern on scope trace
OUTPUT cav4cQ/INPUT [%]
INPUT [dBm]

## Slide 8: Other plots

## Slide 10
INPUT [“current” from functiongen]
OUTPUT cav4cQ/INPUT [%]

## Slide 11
INPUT [“current” from functiongen]
OUTPUT cav4cQ/INPUT [%]

## Slide 12
INPUT [“current” from functiongen]
OUTPUT cav4Q Deviation from linear (cav4c) [mV]

## Slide 13
OUTPUT cav4cQ Deviation from quadratic fit (cav4c) [“uA”]
INPUT [“uA” from function generator]

## Slide 14: Other plots of Devi’s runs