## Slide 1: Triangle Wave RF scans
Caryn 2/12/24

## Slide 2: Devi Analysis Screenshot

## Slide 3: 4 runs at 0.01Hz
Run14497 New gains -10.5dBm 86% AM
Run14499 New gains -20dBm 86% AM
Run12907 Old gains -20dBm 91% AM
Run14564 New? gains -25dBm 91% AM ??
Fit raw cav4cQ to fmod of CodaEventNumber, mod 9559.5 with quadratic, examine residuals, plot everything in units of Volts and events

## Slide 4
Run14497vsVzoom_newgains_m10p5dBm_86percentAM.png
Run14499vsV_newgains_m20dBm_91percentAM.png

## Slide 5
Run14497vsTzoom_newgains_m10p5dBm_86percentAM.png
Run14499vsT_newgains_m20dBm_91percentAM.png

## Slide 6
Run14564vsV_new?gains_m25dBm_91percentAM.png
Run14564vsVzoom_new?gains_m25dBm_91percentAM.png
Run12907vsV_oldgains_m20dBm_91percentAM.png
?
?

## Slide 7
Run12907vsT_oldgains_m20dBm_91percentAM.png
Run14564vsT_new?gains_m25dBm_91percentAM.png
Run14564vsTzoom_new?gains_m25dBm_91percentAM.png
?
?

## Slide 8: Constant -19dBm RF input, old gain setting
Run13365_m19dBm_oldgains_constantRF.png
Receiver outputs jump periodically in time, not at the same time, every ~100events(3sec)

## Slide 9: Rise and Fall fit and plotted
Run12907vsV_oldgains_m20dBm_91percentAM_riseandfall.png
Jumps in different places for rise and fall of triangle wave, spikes in same places…spikes in voltage, jumps in time.

## Slide 10
Run14499vsV_newgains_m20dBm_91percentAM_riseandfall.png

## Slide 11
Run14497vsVzoom_newgains_m10p5dBm_86percentAM_riseandfall

## Slide 12
Run14499vsV_newgains_m20dBm_91percentAM_riseandfall.png
Run14497vsVzoom_newgains_m10p5dBm_86percentAM_riseandfall

## Slide 13
Run14564vsV_newnewgains_m25dBm_91percentAM_risefall.png

## Slide 14
Run14564vsVzoom_newnewgains_m25dBm_91percentAM_risefall.png
Run12907vsV_oldgains_m20dBm_91percentAM_riseandfall.png
0.0015V
0.001V
2.5V=-25dBm
-19dBm~50uA
-25dBm~25uA
5V~50uA
0.25V=-20dBm
-19dBm~>50uA
0.25V~>50uA
Spike size appx same, signal size 10X bigger -> signal to spike ratio 10X better

## Slide 15
Run14564 newnewgains m25dBm 91percentAM pr tree

## Slide 16
Run14564 newnewgains m25dBm 91percentAM pr tree

## Slide 17
Run14564 newnewgains m25dBm 91percentAM pr tree

## Slide 18
Run14564 newnewgains m25dBm 91percentAM pr tree

## Slide 19
Run14564 newnewgains m25dBm 91percentAM pr tree